## Sayfa1
REV. 00 / 2022 - ONGAS 600 P SPARE PARTS LIST
NO | ITEM | DRAWING NUMBER | PART NUBER
|  |  | ONGAS 604P | ONGAS 605P | ONGAS 606P | ONGAS 607P | ONGAS 608P | ONGAS 609P | ONGAS 610P | ONGAS 611P | ONGAS 612P
1 | FRONT SECTION | OG-600P-001 | OG600P-SP.001001
2 | MIDDLE SECTION | OG-600P-002 | OG600P-SP.002001
3 | BACK SECTION | OG-600P-003 | OG600P-SP.003001
4 | CLEANING CAP | OG-600P-004 | OG600P-SP.004001
5 | SEALING FOR CLEANING CAP | OG-600P-005 | OG600P-SP.005001
6 | CONNECTION RODS FOR CLEANING CAP | OG-600P-006 | OG600P-SP.006001
7 | O-RING BETWEEN SECTIONS FOR WATER COLLECTOR | OG-600P-007 | OG600P-SP.007001
8 | CONNECTION SCREW FOR BASE OF HEAT EXCHANGER | OG-600P-008 | OG600P-SP.008001
9 | O-RING FOR WATER INLET-OUTLET FLANGE | OG-600P-009 | OG600P-SP.009001
10 | WATER INLET FLANGE | OG-600P-010 | OG600P-SP.010001
11 | CONNECTION ROD FOR WATER INLET FLANGE | OG-600P-011 | OG600P-SP.011001
12 | SEALING FOR CHIMNEY ADAPTOR | OG-600P-012 | OG600P-SP.012001
13 | SIPHON | OG-600P-013 | OG600P-SP.013001
14 | REDUCTION OF SIPHON | OG-600P-014 | OG600P-SP.014001
15 | FLUE ADAPTOR | OG-600P-015 | OG600P-SP.015001
16 | CONNECTION ROD FOR FLUE ADAPTOR | OG-600P-016 | OG600P-SP.016001
17 | SEALING FOR CHIMNEY ADAPTOR | OG-600P-017 | OG600P-SP.017001
18 | CONNECTION ROD FOR CHIMNEY ADAPTOR | OG-600P-018 | OG600P-SP.018001
19 | CHIMNEY ADAPTOR | OG-600P-019 | OG600P-SP.019001 |  | OG600P-SP.019002
20 | SEALING FOR CHIMNEY | OG-600P-020 | OG600P-SP.020001 |  | OG600P-SP.020002
21 | CONNECTION ROD FOR WATER OUTLET FLANGE | OG-600P-021 | OG600P-SP.021001
22 | AIR VENT | OG-600P-022 | OG600P-SP.022001
23 | WATER OUTLET FLANGE | OG-600P-023 | OG600P-SP.023001
24 | 1/8" NIPPLE | OG-600P-024 | OG600P-SP.024001
25 | NTC TEMPERATURE SENSOR | OG-600P-025 | OG600P-SP.025001
26 | CONNECTION ROD FOR ASSEMBLY OF HEAT EXCHANGER | OG-600P-026 | OG600P-SP.026001 | OG600P-SP.026002 | OG600P-SP.026003 | OG600P-SP.026004 | OG600P-SP.026005 | OG600P-SP.026006 | OG600P-SP.026007 | OG600P-SP.026008 | OG600P-SP.026009
27 | GAS PIPE SUPPORT | OG-600P-027 | OG600P-SP.027001
28 | CONNECTION SCREW FOR SURFACE TYPE LIMIT THERMOSTAT | OG-600P-028 | OG600P-SP.028001
29 | SURFACE TYPE LIMIT THERMOSTAT | OG-600P-029 | OG600P-SP.029001
30 | BURNER | OG-600P-030 | OG600P-SP.030001 | OG600P-SP.030002 | OG600P-SP.030003 | OG600P-SP.030004 | OG600P-SP.030005 | OG600P-SP.030006 | OG600P-SP.030007 | OG600P-SP.030008 | OG600P-SP.030009
31 | SEALING FOR BURNER FLANGE | OG-600P-031 | OG600P-SP.031001
32 | SEALING FOR BURNER | OG-600P-032 | OG600P-SP.032001
33 | SCREW FOR BURNER CONNECTION | OG-600P-033 | OG600P-SP.033001
34 | SEALING FOR IGNITION ELECTRODE | OG-600P-034 | OG600P-SP.034001
35 | IGNITION ELECTRODE | OG-600P-035 | OG600P-SP.035001
36 | SEALING FOR IONISATION ELECTRODE | OG-600P-036 | OG600P-SP.036001
37 | IONISATION ELECTRODE | OG-600P-037 | OG600P-SP.037001
38 | CONNECTION ORIFICE FOR IONISATION ELECTRODE | OG-600P-038 | OG600P-SP.038001
39 | SCREW FOR ELETRODES | OG-600P-039 | OG600P-SP.039001
40 | SEALING FOR ELBOW | OG-600P-040 | OG600P-SP.040001
41 | SCREW FOR ELBOW CONNECTION | OG-600P-041 | OG600P-SP.041001
42 | BURNER FLANGE | OG-600P-042 | OG600P-SP.042001
43 | SCREW FOR FLAME GLASS | OG-600P-043 | OG600P-SP.043001
44 | HOUSING FOR FLAME GLASS | OG-600P-044 | OG600P-SP.044001
45 | ELBOW | OG-600P-045 | OG600P-SP.045001 |  | OG600P-SP.045002
46 | SCREW FOR ELBOW-FAN CONNECTION | OG-600P-046 | OG600P-SP.046001
47 | SEALING FOR ELBOW-FAN CONNECTION FLANGE | OG-600P-047 | OG600P-SP.045001 |  | OG600P-SP.045002
48 | SEALING FOR FLAME GLASS | OG-600P-048 | OG600P-SP.048001
49 | FLAME GLASS | OG-600P-049 | OG600P-SP.049001
50 | WATER PRESSURE SENSOR | OG-600P-050 | OG600P-SP.050001
NO | ITEM | DRAWING NUMBER | PART NUBER
|  |  | ONGAS 604P | ONGAS 605P | ONGAS 606P | ONGAS 607P | ONGAS 608P | ONGAS 609P | ONGAS 610P | ONGAS 611P | ONGAS 612P
51 | 1/4" NIPPLE | OG-600P-051 | OG600P-SP.051001
52 | CONNECTION RODS FOR CAP OF CLEANING CONDENSE COLLECTOR | OG-600P-052 | OG600P-SP.052001
53 | CONDENSE WATER LEVEL SWITCH | OG-600P-053 | OG600P-SP.053001
54 | CAP OF CLEANING CONDENSE COLLECTOR | OG-600P-054 | OG600P-SP.054001
55 | SEALING FOR CAP OF CLEANING CONDENSE COLLECTOR | OG-600P-055 | OG600P-SP.055001
56 | AIR INTAKE HOSE | OG-600P-056 | OG600P-SP.056001 |  | OG600P-SP.056002
57 | CLAMP FOR AIR INTAKE HOSE | OG-600P-057 | OG600P-SP.057001 |  | OG600P-SP.057002
58 | AIR INLET FLANGE OF VENTURI | OG-600P-058 | OG600P-SP.058001 |  | OG600P-SP.058002
59 | SCREW FOR AIR INLET FLANGE OF VENTURI | OG-600P-059 | OG600P-SP.059001
60 | VENTURI | OG-600P-060 | OG600P-SP.060001 | OG600P-SP.060002 | OG600P-SP.060003
61 | SCREW BETWEEN VENTURI-VENTURI ADAPTOR | OG-600P-061 | OG600P-SP.061001
62 | VENTURI ADAPTOR | OG-600P-062 | - | - | OG600P-SP.062001
63 | SCREW FOR FAN-VENTURI ADAPTOR | OG-600P-063 | OG600P-SP.063001
64 | SEALING FOR FAN-VENTURI ADAPTOR | OG-600P-064 | - | - | OG600P-SP.064001
65 | FAN | OG-600P-065 | OG600P-SP.065001 | OG600P-SP.065002 | OG600P-SP.065003 | [5 empty] | OG600P-SP.065004
66 | SEALING FOR GAS VALVE | OG-600P-066 | OG600P-SP.066001
67 | FLANGE OF GAS VALVE | OG-600P-067 | OG600P-SP.067001
68 | GAS CONNECTION TO VENTURI | OG-600P-068 | OG600P-SP.068001 | OG600P-SP.068002 | OG600P-SP.068003 |  |  |  |  | OG600P-SP.068004
69 | GAS INLET PIPE (ELBOW) | OG-600P-069 | - | - | - | - | - | - | - | OG600P-SP.069001
70 | NIPPLE FOR GAS CONNECTION TO VENTURI | OG-600P-070 | - | - | - | - | - | - | - | OG600P-SP.070001
71 | SCREW FOR FLANGE OF GAS VALVE | OG-600P-071 | OG600P-SP.071001
72 | OUTLET FLANGE OF GAS VALVE | OG-600P-072 | OG600P-SP.072001 | OG600P-SP.072002 | OG600P-SP.072003 |  |  |  |  | OG600P-SP.072004
73 | SEALING FOR GAS VALVE | OG-600P-073 | OG600P-SP.073001
74 | GAS VALVE | OG-600P-074 | OG600P-SP.074001 | OG600P-SP.074002 | [5 empty] | OG600P-SP.074003
75 | INLET FLANGE OF GAS VALVE | OG-600P-075 | OG600P-SP.075001 | OG600P-SP.075002 | [5 empty] | OG600P-SP.075003
76 | GAS INLET PIPIE (HORIZONTAL) | OG-600P-076 | OG600P-SP.076001
77 | GAS INLET PIPE (ELBOW) | OG-600P-077 | OG600P-SP.077001
78 | GAS INLET PIPE (VERTICAL) | OG-600P-078 | OG600P-SP.078001 | OG600P-SP.078002 | OG600P-SP.078003 | OG600P-SP.078004
79 | STABILIZATION SUPPORT LEGS | OG-600P-079 | OG600P-SP.079001
80 | BRACE FOR SUPPORT LEGS | OG-600P-080 | OG600P-SP.080001
81 | BUTTOM CASING | OG-600P-081 | OG600P-SP.081001 | OG600P-SP.081002 | OG600P-SP.081003 | OG600P-SP.081004 | OG600P-SP.081005 | OG600P-SP.081006 | OG600P-SP.081007 | OG600P-SP.081008 | OG600P-SP.081009
82 | WHEELS | OG-600P-082 | OG600P-SP.082001
83 | BUTTOM COVERS | OG-600P-083 | OG600P-SP.083001 | OG600P-SP.083002 | OG600P-SP.083003 | OG600P-SP.083004 | OG600P-SP.083005 | OG600P-SP.083006 | OG600P-SP.083007 | OG600P-SP.083008 | OG600P-SP.083009
84 | CAP FOR AIR INTAKE FILTERS - BOTTOM | OG-600P-084 | OG600P-SP.084001
85 | AIR INTAKE FILTERS - BOTTOM | OG-600P-085 | OG600P-SP.085001
86 | FRONT CASING | OG-600P-086 | OG600P-SP.086001
87 | PLASTIC FRAME OF DISPLAY | OG-600P-087 | OG600P-SP.087001
88 | DISPLAY | OG-600P-088 | OG600P-SP.088001
89 | MAIN BOARD | OG-600P-089 | OG600P-SP.089001
90 | LEFT-FRONT CASING | OG-600P-090 | OG600P-SP.090001 | OG600P-SP.090002 | OG600P-SP.090003 | OG600P-SP.090004 | OG600P-SP.090005 | OG600P-SP.090006 | OG600P-SP.090007 | OG600P-SP.090008 | OG600P-SP.090009
91 | CAP FOR AIR INTAKE FILTERS - TOP | OG-600P-091 | OG600P-SP.091001
92 | AIR INTAKE FILTERS - TOP | OG-600P-092 | OG600P-SP.092001
93 | CONTROL PANEL BOX | OG-600P-093 | OG600P-SP.093001
94 | BASE OF CONTROL PANEL BOX | OG-600P-094 | OG600P-SP.094001
95 | VERTICAL STICKS | OG-600P-095 | OG600P-SP.095001
96 | RIGHT-BACK CASING | OG-600P-096 | OG600P-SP.096001 | OG600P-SP.096002 | OG600P-SP.096003 | OG600P-SP.096004 | OG600P-SP.096005 | OG600P-SP.096006 | OG600P-SP.096007 | OG600P-SP.096008 | OG600P-SP.096009
97 | CABLE-WAY | OG-600P-097 | OG600P-SP.097001 | OG600P-SP.097002 | OG600P-SP.097003 | OG600P-SP.097004 | OG600P-SP.097005 | OG600P-SP.097006 | OG600P-SP.097007 | OG600P-SP.097008 | OG600P-SP.097009
98 | TRANSFORMER | OG-600P-098 | OG600P-SP.098001
99 | BASE OF HEAT EXCHANGER | OG-600P-099 | OG600P-SP.099001 | OG600P-SP.099002 | OG600P-SP.099003 | OG600P-SP.099004 | OG600P-SP.099005 | OG600P-SP.099006 | OG600P-SP.099007 | OG600P-SP.099008 | OG600P-SP.099009
100 | TOP CASING | OG-600P-100 | OG600P-SP.100001 | OG600P-SP.100002 | OG600P-SP.100003 | OG600P-SP.100004 | OG600P-SP.100005 | OG600P-SP.100006 | OG600P-SP.100007 | OG600P-SP.100008 | OG600P-SP.100009
101 | AIR INTAKE ADAPTOR CASING | OG-600P-101 | OG600P-SP.101001 |  | OG600P-SP.101002
102 | BACK CASING | OG-600P-102 | OG600P-SP.102001
103 | LEFT-BACK CASING | OG-600P-103 | OG600P-SP.103001 | OG600P-SP.103002 | OG600P-SP.103003 | OG600P-SP.103004 | OG600P-SP.103005 | OG600P-SP.103006 | OG600P-SP.103007 | OG600P-SP.103008 | OG600P-SP.103009
104
ONGAS 600 P SERIES CONDENSING BOILERS