## Sayfa1
REV. 00 / 2022 - ONGAS NOVA SPARE PARTS LIST
NO | ITEM | DRAWING NUMBER | PART NUBER
|  |  | ONGAS NOVA 09 | ONGAS NOVA 10 | ONGAS NOVA 11 | ONGAS NOVA 12 | ONGAS NOVA 13 | ONGAS NOVA 14 | ONGAS NOVA 15
1 | FRONT SECTION | OG-NV-001 | OGNV-SP.001001
2 | MIDDLE SECTION | OG-NV-002 | OGNV-SP.002001
3 | BACK SECTION | OG-NV-003 | OGNV-SP.003001
4 | O-RING BETWEEN SECTIONS FOR WATER COLLECTOR | OG-NV-004 | OGNV-SP.004001
5 | SEALING BETWEEN SECTIONS FOR GAS SIDE | OG-NV-005 | OGNV-SP.005001
6 | SEALING FOR CLEANING CAP | OG-NV-006 | OGNV-SP.006001
7 | CLEANING CAP | OG-NV-007 | OGNV-SP.007001
8 | CONNECTION RODS FOR CLEANING CAP | OG-NV-008 | OGNV-SP.008001
9 | SEALING FOR CAP OF CLEANING CONDENSE COLLECTOR | OG-NV-009 | OGNV-SP.009001
10 | CAP OF CLEANING CONDENSE COLLECTOR | OG-NV-010 | OGNV-SP.010001
11 | CONNECTION RODS FOR CAP OF CLEANING CONDENSE COLLECTOR | OG-NV-011 | OGNV-SP.011001
12 | O-RING FOR BLING FLANGE OF FRONT SIDE OF WATER COLLECTOR | OG-NV-012 | OGNV-SP.012001
13 | BLIND FLANGE OF FRONT SIDE OF WATER COLLECTOR | OG-NV-013 | OGNV-SP.013001
14 | CONNECTIONS RODS FOR BLIND FLANGE OF FRONT SIDE OF WATER COLLECTOR | OG-NV-014 | OGNV-SP.014001
15 | 1/8" NIPPLE | OG-NV-015 | OGNV-SP.015001
16 | 1/4" NIPPLE | OG-NV-016 | OGNV-SP.016001
17 | NTC TEMPERATURE SENSOR | OG-NV-017 | OGNV-SP.017001
18 | WATER PRESSURE SENSOR | OG-NV-018 | OGNV-SP.018001
19 | CONDENSE WATER LEVEL SWITCH | OG-NV-019 | OGNV-SP.019001
20 | CONNECTION SCREW BETWEEN SECTIONS | OG-NV-020 | OGNV-SP.020001
21 | O-RING FOR WATER INLET-OUTLET FLANGE | OG-NV-021 | OGNV-SP.021001
22 | WATER INLET FLANGE | OG-NV-022 | OGNV-SP.022001
23 | CONNECTION ROD FOR WATER INLET-OTLET FLANGE | OG-NV-023 | OGNV-SP.023001
24 | SEALING FOR FLUE ADAPTOR | OG-NV-024 | OGNV-SP.024001
25 | SIPHON | OG-NV-025 | OGNV-SP.025001
26 | FLUE ADAPTOR | OG-NV-026 | OGNV-SP.026001
27 | CONNECTION ROD FOR FLUE ADAPTOR | OG-NV-027 | OGNV-SP.027001
28 | SEALING FOR CHIMNEY ADAPTOR | OG-NV-028 | OGNV-SP.028001
29 | CHIMNEY ADAPTOR | OG-NV-029 | OGNV-SP.029001 |  | OGNV-SP.029002
30 | SEALING FOR CHIMNEY | OG-NV-030 | OGNV-SP.030001 |  | OGNV-SP.030002
31 | CONNECTION ROD FOR CHIMNEY ADAPTOR | OG-NV-031 | OGNV-SP.031001
32 | AIR VENT | OG-NV-032 | OGNV-SP.032001
33 | WATER OUTLET FLANGE | OG-NV-033 | OGNV-SP.033001
34 | SURFACE TYPE LIMIT THERMOSTAT | OG-NV-034 | OGNV-SP.034001
35 | CONNECTION SCREW FOR SURFACE TYPE LIMIT THERMOSTAT | OG-NV-035 | OGNV-SP.035001
36 | FAN | OG-NV-036 | OGNV-SP.036001 |  |  | OGNV-SP.036002
37 | SCREW FOR FAN-VENTURI CONNECTION | OG-NV-037 | - | OGNV-SP.037001
38 | FLANGE FOR FAN-VENTURI CONNECTION | OG-NV-038 | - | OGNV-SP.038001
39 | FLANGE OF GAS VALVE | OG-NV-039 | OGNV-SP.039001 |  |  |  | OGNV-SP.039002
40 | FLANGE WITH SHUTTER FOR GAS VALVE | OG-NV-040 | OGNV-SP.040001 |  |  |  | OGNV-SP.040002
41 | SEALING FOR GAS VALVE | OG-NV-041 | OGNV-SP.041001
42 | GAS VALVE | OG-NV-042 | OGNV-SP.042001 |  |  | OGNV-SP.042002
43 | NIPPLE FOR GAS VALVE CONNECTION | OG-NV-043 | OGNV-SP.043001 |  |  |  | OGNV-SP.043002
44 | SCREW FOR FLANGE OF GAS VALVE | OG-NV-044 | OGNV-SP.044001
45 | GAS INLET PIPE (VERTICAL) | OG-NV-045 | OGNV-SP.045001 |  |  |  | OGNV-SP.046002
46 | GAS INLET PIPE (ELBOW) | OG-NV-046 | OGNV-SP.046001
47 | GAS INLET PIPIE (HORIZONTAL) | OG-NV-047 | OGNV-SP.047001 | OGNV-SP.047002 | OGNV-SP.047003 | OGNV-SP.047004 | OGNV-SP.047005 | OGNV-SP.047006 | OGNV-SP.047007
48 | SCREW FOR AIR INLET FLANGE OF VENTURI | OG-NV-048 | OGNV-SP.048001
49 | AIR INLET FLANGE OF VENTURI | OG-NV-049 | OGNV-SP.049001 |  | OGNV-SP.049002
50 | VENTURI | OG-NV-050 | OGNV-SP.050001 |  | OGNV-SP.050002
NO | ITEM | DRAWING NUMBER | PART NUMBER
|  |  | ONGAS NOVA 09 | ONGAS NOVA 10 | ONGAS NOVA 11 | ONGAS NOVA 12 | ONGAS NOVA 13 | ONGAS NOVA 14 | ONGAS NOVA 15
51 | SEALING FOR FAN-VENTURI CONNECTION FLANGE | OG-NV-051 | OGNV-SP.051001 |  | OGNV-SP.051002
52 | SCREW FOR ELBOW-FAN CONNECTION | OG-NV-052 | OGNV-SP.052001
53 | SEALING FOR ELBOW-FAN CONNECTION FLANGE | OG-NV-053 | OGNV-SP.053001
54 | ELBOW-FAN CONNECTION FLANGE | OG-NV-054 | OGNV-SP.054001
55 | SCREW FOR ELBOW CONNECTION | OG-NV-055 | OGNV-SP.055001
56 | FLAPPER | OG-NV-056 | OGNV-SP.056001
57 | FRAME OF FLAPPER | OG-NV-057 | OGNV-SP.057001
58 | SEALING FOR FRAME OF FLAPPER | OG-NV-058 | OGNV-SP.058001
59 | HOUSING OF FLAPPER | OG-NV-059 | OGNV-SP.059001 |  |  | OGNV-SP.059002
60 | O-RING FOR HOUSING OF FLAPPER | OG-NV-060 | OGNV-SP.060001
61 | CONNECTION RODS BETWEEN BURNER FLANGE-HOUSING OF FLAPPER | OG-NV-061 | OGNV-SP.061001
62 | CONNECTION RODS BETWEEN FRONT SECTION-BURNER FLANGE | OG-NV-062 | OGNV-SP.062001
63 | BURNER FLANGE | OG-NV-063 | OGNV-SP.063001
64 | SEALING FOR BURNER FLANGE | OG-NV-064 | OGNV-SP.064001
65 | SCREW FOR BURNER CONNECTION | OG-NV-065 | OGNV-SP.065001
66 | SEALING FOR BURNER | OG-NV-066 | OGNV-SP.066001
67 | BURNER | OG-NV-067 | OGNV-SP.067001 | OGNV-SP.067002 | OGNV-SP.067003 | OGNV-SP.067004 | OGNV-SP.067005 | OGNV-SP.067006 | OGNV-SP.067007
68 | ELBOW | OG-NV-068 | OGNV-SP.068001
69 | SEALING FOR ELBOW | OG-NV-069 | OGNV-SP.069001
70 | SCREW FOR IGNITION ELETRODE SCREW | OG-NV-070 | OGNV-SP.070001
71 | CONNECTION ORIFICE FOR IONISATION ELECTRODE | OG-NV-071 | OGNV-SP.071001
72 | IONISATION ELECTRODE | OG-NV-072 | OGNV-SP.072001
73 | SEALING FOR IONISATION ELECTRODE | OG-NV-073 | OGNV-SP.073001
74 | IGNITION ELECTRODE | OG-NV-074 | OGNV-SP.074001
75 | SEALING FOR IGNITION ELECTRODE | OG-NV-075 | OGNV-SP.075001
76 | HOUSING FOR FLAME GLASS | OG-NV-076 | OGNV-SP.076001
77 | SEALING FOR FLAME GLASS | OG-NV-077 | OGNV-SP.077001
78 | FLAME GLASS | OG-NV-078 | OGNV-SP.078001
79 | RIGHT-BACK CASING | OG-NV-079 | OGNV-SP.079001 | OGNV-SP.079002 | OGNV-SP.079003 | OGNV-SP.079004 | OGNV-SP.079005 | OGNV-SP.079006 | OGNV-SP.079007
80 | WHEELS | OG-NV-080 | OGNV-SP.080001
81 | STABILIZATION SUPPORT LEGS | OG-NV-081 | OGNV-SP.081001
82 | BRACE FOR SUPPORT LEGS | OG-NV-082 | OGNV-SP.082001
83 | RIGHT-FRONT CASING | OG-NV-083 | OGNV-SP.083001 | OGNV-SP.083002 | OGNV-SP.083003 | OGNV-SP.083004 | OGNV-SP.083005 | OGNV-SP.083006 | OGNV-SP.083007
84 | PLASTIC FRAME OF DISPLAY | OG-NV-084 | OGNV-SP.084001
85 | FRONT CASING | OG-NV-085 | OGNV-SP.085001
86 | AIR INTAKE FILTERS | OG-NV-086 | OGNV-SP.086001
87 | CONTACTOR | OG-NV-087 | OGNV-SP.087001
88 | K OTOMAT | OG-NV-088 | OGNV-SP.088001
89 | CONTROL PANEL BOX | OG-NV-089 | OGNV-SP.089001
90 | BASE OF HEAT EXCHANGER | OG-NV-090 | OGNV-SP.090001 | OGNV-SP.090002 | OGNV-SP.090003 | OGNV-SP.090004 | OGNV-SP.090005 | OGNV-SP.090006 | OGNV-SP.090007
91 | BUTTOM CASING | OG-NV-091 | OGNV-SP.091001 | OGNV-SP.091002 | OGNV-SP.091003 | OGNV-SP.091004 | OGNV-SP.091005 | OGNV-SP.091006 | OGNV-SP.091007
92 | BASE OF CONTROL PANEL BOX | OG-NV-092 | OGNV-SP.092001
93 | DISPLAY | OG-NV-093 | OGNV-SP.093001
94 | CONNECTION TERMINAL | OG-NV-094 | OGNV-SP.094001
95 | MAIN BOARD | OG-NV-095 | OGNV-SP.095001
96 | LEFT-FRONT CASING | OG-NV-096 | OGNV-SP.096001 | OGNV-SP.096002 | OGNV-SP.096003 | OGNV-SP.096004 | OGNV-SP.096005 | OGNV-SP.096006 | OGNV-SP.096007
97 | LEFT-BACK CASING | OG-NV-097 | OGNV-SP.097001 | OGNV-SP.097002 | OGNV-SP.097003 | OGNV-SP.097004 | OGNV-SP.097005 | OGNV-SP.097006 | OGNV-SP.097007
98 | TOP CASING | OG-NV-098 | OGNV-SP.098001 | OGNV-SP.098002 | OGNV-SP.098003 | OGNV-SP.098004 | OGNV-SP.098005 | OGNV-SP.098006 | OGNV-SP.098007
99 | TRANSFORMER | OG-NV-099 | OGNV-SP.099001
100 | BACK CASING | OG-NV-100 | OGNV-SP.100001
101 | VERTICAL STICKS | OG-NV-101 | OGNV-SP.101001
102 | BASE OF TOP CASING | OG-NV-102 | OGNV-SP.102001 | OGNV-SP.102002 | OGNV-SP.102003 | OGNV-SP.102004 | OGNV-SP.102005 | OGNV-SP.102006 | OGNV-SP.102007
103 | CABLE-WAY | OG-NV-103 | OGNV-SP.103001
104 | CONNECTION SCREW FOR BASE OF HEAT EXCHANGER | OG-NV-104 | OGNV-SP.104001
ONGAS NOVA SERIES CONDENSING BOILERS