## Sayfa1
REV. 00 / 2022 - ONGAS MEGA SPARE PARTS LIST
NO | ITEM | DRAWING NUMBER | PART NUMBER
|  |  | MEGA 05 | MEGA 06 | MEGA 07 | MEGA 08 | MEGA 09 | MEGA 10 | MEGA 11 | MEGA 12 | MEGA 13 | MEGA 14 | MEGA 15 | MEGA 16 | MEGA 17
1 | FRONT SECTION | OG-MG-001 | PART NUMBER MEGA 05: OGMG-SP.001001
2 | MIDDLE SECTION | OG-MG-002 | PART NUMBER MEGA 05: OGMG-SP.002001
3 | BACK SECTION | OG-MG-003 | PART NUMBER MEGA 05: OGMG-SP.003001
4 | CLEANING CAP | OG-MG-004 | PART NUMBER MEGA 05: OGMG-SP.004001
5 | SEALING FOR CLEANING CAP | OG-MG-005 | PART NUMBER MEGA 05: OGMG-SP.005001
6 | CONNECTION RODS FOR CLEANING CAP | OG-MG-006 | PART NUMBER MEGA 05: OGMG-SP.006001
7 | O-RING BETWEEN SECTIONS FOR WATER COLLECTOR | OG-MG-007 | PART NUMBER MEGA 05: OGMG-SP.007001
8 | CONNECTION SCREW FOR BASE OF HEAT EXCHANGER | OG-MG-008 | PART NUMBER MEGA 05: OGMG-SP.008001
9 | O-RING FOR WATER INLET-OUTLET FLANGE | OG-MG-009 | PART NUMBER MEGA 05: OGMG-SP.009001
10 | WATER INLET FLANGE | OG-MG-010 | PART NUMBER MEGA 05: OGMG-SP.010001; PART NUMBER MEGA 12: OGMG-SP.010002
11 | CONNECTION ROD FOR WATER INLET-OTLET FLANGE | OG-MG-011 | PART NUMBER MEGA 05: OGMG-SP.011001
12 | SEALING FOR FLUE ADAPTOR | OG-MG-012 | PART NUMBER MEGA 05: OGMG-SP.012001; PART NUMBER MEGA 12: OGMG-SP.012002
13 | SIPHON | OG-MG-013 | PART NUMBER MEGA 05: OGMG-SP.013001
14 | CONNECTION RODS FOR HOUSING OF SIPHON | OG-MG-014 | PART NUMBER MEGA 05: OGMG-SP.014001
15 | HOUSING OF SIPHON | OG-MG-015 | PART NUMBER MEGA 05: OGMG-SP.015001
16 | SEALING FOR HOUSING OF SIPHON | OG-MG-016 | PART NUMBER MEGA 05: OGMG-SP.016001
17 | FLUE ADAPTOR | OG-MG-017 | PART NUMBER MEGA 05: OGMG-SP.017001; PART NUMBER MEGA 12: OGMG-SP.017002
18 | SEALING FOR CHIMNEY ADAPTOR | OG-MG-018 | PART NUMBER MEGA 05: OGMG-SP.018001; PART NUMBER MEGA 07: OGMG-SP.018002; PART NUMBER MEGA 10: OGMG-SP.018003; PART NUMBER MEGA 12: OGMG-SP.018004
19 | CHIMNEY ADAPTOR | OG-MG-019 | PART NUMBER MEGA 05: OGMG-SP.019001; PART NUMBER MEGA 07: OGMG-SP.019002; PART NUMBER MEGA 10: OGMG-SP.019003; PART NUMBER MEGA 12: OGMG-SP.019004
20 | CONNECTION ROD FOR CHIMNEY ADAPTOR | OG-MG-020 | PART NUMBER MEGA 05: OGMG-SP.020001
21 | 1/8" NIPPLE | OG-MG-021 | PART NUMBER MEGA 05: OGMG-SP.021001
22 | NTC TEMPERATURE SENSOR | OG-MG-022 | PART NUMBER MEGA 05: OGMG-SP.022001
23 | WATER OUTLET FLANGE | OG-MG-023 | PART NUMBER MEGA 05: OGMG-SP.023001; PART NUMBER MEGA 12: OGMG-SP.023002
24 | AIR VENT | OG-MG-024 | PART NUMBER MEGA 05: OGMG-SP.024001
25 | CONNECTION ROD FOR ASSEMBLY OF HEAT EXCHANGER | OG-MG-025 | PART NUMBER MEGA 05: OGMG-SP.025001
26 | O-RING FOR BLING FLANGE OF FRONT SIDE OF WATER COLLECTOR | OG-MG-026 | PART NUMBER MEGA 05: OGMG-SP.026001
27 | CONNECTIONS RODS FOR BLIND FLANGE OF FRONT SIDE OF WATER COLLECTOR | OG-MG-027 | PART NUMBER MEGA 05: OGMG-SP.027001
28 | BLIND FLANGE OF FRONT SIDE OF WATER COLLECTOR | OG-MG-028 | PART NUMBER MEGA 05: OGMG-SP.028001
29 | CAP OF CLEANING CONDENSE COLLECTOR | OG-MG-029 | PART NUMBER MEGA 05: OGMG-SP.029001
30 | CONDENSE WATER LEVEL SWITCH | OG-MG-030 | PART NUMBER MEGA 05: OGMG-SP.030001
31 | CONNECTION RODS FOR CAP OF CLEANING CONDENSE COLLECTOR | OG-MG-031 | PART NUMBER MEGA 05: OGMG-SP.031001
32 | WATER PRESSURE SENSOR | OG-MG-032 | PART NUMBER MEGA 05: OGMG-SP.032001
33 | 1/4" NIPPLE | OG-MG-033 | PART NUMBER MEGA 05: OGMG-SP.033001
34 | SEALING FOR CAP OF CLEANING CONDENSE COLLECTOR | OG-MG-034 | PART NUMBER MEGA 05: OGMG-SP.034001
35 | FAN | OG-MG-035 | PART NUMBER MEGA 05: OGMG-SP.035001; PART NUMBER MEGA 08: OGMG-SP.035002; PART NUMBER MEGA 15: OGMG-SP.035003
36 | SEALING FOR ELBOW-FAN CONNECTION FLANGE | OG-MG-036 | PART NUMBER MEGA 05: OGMG-SP.036001; PART NUMBER MEGA 08: OGMG-SP.036002; PART NUMBER MEGA 15: OGMG-SP.036003
37 | SCREW FOR ELBOW-FAN CONNECTION | OG-MG-037 | PART NUMBER MEGA 05: OGMG-SP.037001
38 | ELBOW-FAN CONNECTION FLANGE | OG-MG-038 | PART NUMBER MEGA 05: OGMG-SP.038001; PART NUMBER MEGA 08: OGMG-SP.038002; PART NUMBER MEGA 15: OGMG-SP.038003
39 | SEALING FOR ELBOW-FAN CONNECTION FLANGE | OG-MG-039 | PART NUMBER MEGA 05: OGMG-SP.039001; PART NUMBER MEGA 08: OGMG-SP.039002; PART NUMBER MEGA 15: OGMG-SP.039003
40 | SCREW FOR ELBOW CONNECTION | OG-MG-040 | PART NUMBER MEGA 05: OGMG-SP.040001
41 | ELBOW | OG-MG-041 | PART NUMBER MEGA 05: OGMG-SP.041001; PART NUMBER MEGA 08: OGMG-SP.042002; PART NUMBER MEGA 15: OGMG-SP.042003
42 | SEALING FOR ELBOW | OG-MG-042 | PART NUMBER MEGA 05: OGNV-SP.042001; PART NUMBER MEGA 08: OGNV-SP.042002
43 | BURNER | OG-MG-043 | OGMG-SP.043001 | OGMG-SP.043002 | OGMG-SP.043003 | OGMG-SP.043004 | OGMG-SP.043005 | OGMG-SP.043006 | OGMG-SP.043007 | OGMG-SP.043008 | OGMG-SP.043009 | OGMG-SP.043010 | OGMG-SP.043011 | OGMG-SP.043012 | OGMG-SP.043013
44 | SEALING FOR BURNER FLANGE | OG-MG-044 | PART NUMBER MEGA 05: OGMG-SP.044001
45 | BURNER FLANGE | OG-MG-045 | PART NUMBER MEGA 05: OGMG-SP.045001
46 | CONNECTION RODS BETWEEN FRONT SECTION-BURNER FLANGE | OG-MG-046 | PART NUMBER MEGA 05: OGMG-SP.046001
47 | FLAME GLASS | OG-MG-047 | PART NUMBER MEGA 05: OGMG-SP.047001
48 | SEALING FOR FLAME GLASS | OG-MG-048 | PART NUMBER MEGA 05: OGMG-SP.048001
49 | HOUSING FOR FLAME GLASS | OG-MG-049 | PART NUMBER MEGA 05: OGMG-SP.049001
50 | SEALING FOR IGNITION ELECTRODE | OG-MG-050 | PART NUMBER MEGA 05: OGMG-SP.050001
NO | ITEM | DRAWING NUMBER | PART NUMBER MEGA 05: PART NUMBER
|  |  | MEGA 05 | MEGA 06 | MEGA 07 | MEGA 08 | MEGA 09 | MEGA 10 | MEGA 11 | MEGA 12 | MEGA 13 | MEGA 14 | MEGA 15 | MEGA 16 | MEGA 17
51 | IGNITION ELECTRODE | OG-MG-051 | PART NUMBER MEGA 05: OGMG-SP.051001
52 | SCREW FOR IGNITION ELETRODE | OG-MG-052 | PART NUMBER MEGA 05: OGMG-SP.052001
53 | SEALING FOR IONISATION ELECTRODE | OG-MG-053 | PART NUMBER MEGA 05: OGMG-SP.053001
54 | IONISATION ELECTRODE | OG-MG-054 | PART NUMBER MEGA 05: OGMG-SP.054001
55 | CONNECTION ORIFICE FOR IONISATION ELECTRODE | OG-MG-055 | PART NUMBER MEGA 05: OGMG-SP.055001
56 | CONNECTION RODS BETWEEN BURNER FLANGE-ELBOW | OG-MG-056 | PART NUMBER MEGA 05: OGMG-SP.056001
57 | GAS INLET PIPIE (HORIZONTAL) | OG-MG-057 | OGMG-SP.057001 | OGMG-SP.057002 | OGMG-SP.057003 | OGMG-SP.057004 | OGMG-SP.057005 | OGMG-SP.057006 | OGMG-SP.057007 | OGMG-SP.057008 | OGMG-SP.057009 | OGMG-SP.057010 | OGMG-SP.057011 | OGMG-SP.057012 | OGMG-SP.057013
58 | GAS INLET PIPE (ELBOW) | OG-MG-058 | PART NUMBER MEGA 05: OGMG-SP.058001
59 | NIPPLE FOR GAS VALVE CONNECTION | OG-MG-059 | PART NUMBER MEGA 05: OGMG-SP.059001; PART NUMBER MEGA 08: OGMG-SP.059002; PART NUMBER MEGA 12: OGMG-SP.059003
60 | SCREW FOR FLANGE OF GAS VALVE | OG-MG-060 | PART NUMBER MEGA 05: OGMG-SP.060001
61 | FLANGE OF GAS VALVE | OG-MG-061 | PART NUMBER MEGA 05: OGMG-SP.061001; PART NUMBER MEGA 08: OGMG-SP.061002; PART NUMBER MEGA 12: OGMG-SP.061003
62 | GAS VALVE | OG-MG-062 | PART NUMBER MEGA 05: OGMG-SP.062001; PART NUMBER MEGA 06: OGMG-SP.062002; PART NUMBER MEGA 08: OGMG-SP.062003
63 | SEALING FOR GAS VALVE | OG-MG-063 | PART NUMBER MEGA 05: OGMG-SP.063001; PART NUMBER MEGA 08: OGMG-SP.063002
64 | AIR INTAKE FILTERS | OG-MG-064 | PART NUMBER MEGA 05: OGMG-SP.064001
65 | FLANGE WITH SHUTTER FOR GAS VALVE | OG-MG-065 | PART NUMBER MEGA 05: OGMG-SP.065001; PART NUMBER MEGA 08: OGMG-SP.065002; PART NUMBER MEGA 12: OGMG-SP.065003
66 | VENTURI | OG-MG-066 | PART NUMBER MEGA 05: OGMG-SP.066001; PART NUMBER MEGA 09: OGMG-SP.066002; PART NUMBER MEGA 14: OGMG-SP.066003
67 | FLANGE FOR FAN-VENTURI CONNECTION | OG-MG-067 | PART NUMBER MEGA 05: OGMG-SP.067001; PART NUMBER MEGA 08: OGMG-SP.067002; PART NUMBER MEGA 15: OGMG-SP.067003
68 | SEALING FOR FAN-VENTURI CONNECTION FLANGE | OG-MG-068 | PART NUMBER MEGA 05: OGMG-SP.068001; PART NUMBER MEGA 08: OGMG-SP.068002; PART NUMBER MEGA 15: OGMG-SP.068003
69 | FRONT CASING | OG-MG-069 | PART NUMBER MEGA 05: OGMG-SP.069001
70 | PLASTIC FRAME OF DISPLAY | OG-MG-070 | PART NUMBER MEGA 05: OGMG-SP.070001
71 | DISPLAY | OG-MG-071 | PART NUMBER MEGA 05: OGMG-SP.071001
72 | MAIN BOARD | OG-MG-072 | PART NUMBER MEGA 05: OGMG-SP.072001
73 | CONTACTOR | OG-MG-073 | PART NUMBER MEGA 05: OGMG-SP.073001
74 | CONTROL PANEL BOX | OG-MG-074 | PART NUMBER MEGA 05: OGMG-SP.074001
75 | BASE OF CONTROL PANEL BOX | OG-MG-075 | PART NUMBER MEGA 05: OGMG-SP.075001
76 | BASE OF HEAT EXCHANGER | OG-MG-076 | OGMG-SP.076001 | OGMG-SP.076002 | OGMG-SP.076003 | OGMG-SP.076004 | OGMG-SP.076005 | OGMG-SP.076006 | OGMG-SP.076007 | OGMG-SP.076008 | OGMG-SP.076009 | OGMG-SP.076010 | OGMG-SP.076011 | OGMG-SP.076012 | OGMG-SP.076013
77 | BUTTOM CASING | OG-MG-077 | OGMG-SP.077001 | OGMG-SP.077002 | OGMG-SP.077003 | OGMG-SP.077004 | OGMG-SP.077005 | OGMG-SP.077006 | OGMG-SP.077007 | OGMG-SP.077008 | OGMG-SP.077009 | OGMG-SP.077010 | OGMG-SP.077011 | OGMG-SP.077012 | OGMG-SP.077013
78 | LEFT-FRONT CASING | OG-MG-078 | PART NUMBER MEGA 05: OGMG-SP.078001
79 | SURFACE TYPE LIMIT THERMOSTAT | OG-MG-079 | PART NUMBER MEGA 05: OGMG-SP.079001
80 | SIDE CASINGS | OG-MG-080 | OGMG-SP.080001 | OGMG-SP.080002 | OGMG-SP.080003 | OGMG-SP.080004 | OGMG-SP.080005 | OGMG-SP.080006 | OGMG-SP.080007 | OGMG-SP.080008 | OGMG-SP.080009 | OGMG-SP.080010 | OGMG-SP.080011 | OGMG-SP.080012 | OGMG-SP.080013
81 | SIDE-BACK CASING | OG-MG-081 | PART NUMBER MEGA 05: OGMG-SP.081001
82 | VERTICAL STICKS | OG-MG-082 | PART NUMBER MEGA 05: OGMG-SP.082001
83 | BASE OF TOP CASING | OG-MG-083 | OGMG-SP.083001 | OGMG-SP.083002 | OGMG-SP.083003 | OGMG-SP.083004 | OGMG-SP.083005 | OGMG-SP.083006 | OGMG-SP.083007 | OGMG-SP.083008 | OGMG-SP.083009 | OGMG-SP.083010 | OGMG-SP.083011 | OGMG-SP.083012 | OGMG-SP.083013
84 | TOP CASING | OG-MG-084 | OGMG-SP.084001 | OGMG-SP.084002 | OGMG-SP.084003 | OGMG-SP.084004 | OGMG-SP.084005 | OGMG-SP.084006 | OGMG-SP.084007 | OGMG-SP.084008 | OGMG-SP.084009 | OGMG-SP.084010 | OGMG-SP.084011 | OGMG-SP.084012 | OGMG-SP.084013
85 | BACK CASING | OG-MG-085 | PART NUMBER MEGA 05: OGMG-SP.085001
86 | TRANSFORMER | OG-MG-086 | PART NUMBER MEGA 05: OGMG-SP.086001
87 | CABLE-WAY | OG-MG-087 | PART NUMBER MEGA 05: OGMG-SP.087001
88
89
90
91
92
93
94
95
96
97
98
99
100
ONGAS MEGA SERIES CONDENSING BOILERS